10:02:05:13.  Procurement of energy consuming products. Each state agency and institution shall specify products that meet at least one of the following requirements when procuring energy consuming products:

(1)  Energy Star qualified;

(2)  Green Seal certified; or

(3)  Ecologo certified.

Any energy consuming product installed in new construction or renovation project that is designed to meet high performance green building standards pursuant to SDCL 5-14-32 to 5-14-38, inclusive, or ASHRAE Standard 90.1-2007, shall be accepted as being compliant with this section.

Source: 37 SDR 111, effective December 7, 2010.

General Authority: SDCL 5-18A-38.

Law Implemented: SDCL 5-18A-38.

Reference: ASHRAE Standard 90.1-2007, Energy Standard for Buildings Except Low-Rise Residential Buildings, I-P Edition, Copyright 2007, with 2008 Supplement, American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc., 1791 Tullie Circle NE, Atlanta, GA 30329. Cost: $135.