10:02:05:14.  Procurement of water consuming products. Each state agency or institution shall specify products that meet at least one of the following requirements when procuring water consuming products:

(1)  WaterSense qualified; or

(2)  Ecologo certified.

Any water consuming product installed in a new construction or renovation project that is designed to meet high performance green building standards pursuant to SDCL 5-14-32 to 5-14-38, inclusive, shall be accepted as being compliant with this section.

Source: 37 SDR 111, effective December 7, 2010.

General Authority: SDCL 5-18A-38.

Law Implemented: SDCL 5-18A-38.