44:69:03:01.  Fire standards and general fire safety. Each birth center shall meet applicable fire safety standards in NFPA 101 Life Safety Code, 2009 edition.

Source: 38 SDR 115, effective January 9, 2012.

General Authority: SDCL 34-12-62(1).

Law Implemented: SDCL 34-12-62(1).

Reference: NFPA 101 Life Safety Code, 2009 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, MA 02269-9101. Phone: 1-800-344-3555. Cost: $76.50.