20:10:38:05.  Measured savings approaches. A measured savings approach shall be based on one or more of the following methods:

(1)  The use of direct metering and monitoring to measure baseline energy use and post-installation energy use;

(2)  The use of engineering methods that use standard formulas and assumptions to calculate the energy use of baseline and post-installation energy systems;

(3)  The use of statistical analyses to estimate baseline energy use and post-installation energy use; or

(4)  The use of computer models to predict the change in energy use after energy efficiency measures are implemented.

Source: 38 SDR 116, effective January 10, 2012.

General Authority: SDCL 49-34A-4(2), 49-34A-27, 49-34A-101.

Law Implemented: SDCL 49-34A-96, 49-34A-101, 49-34A-102, 49-34A-105, 49-34A-106.