20:38:38:06.  Exempt projects and routine maintenance. A licensee may not be required to provide design concepts or an acceptance letter of review for:

(1)  Projects exempt from building code requirements for fire protection; or

(2)  Routine maintenance, when accomplished in accordance with National Fire Protection Association (NFPA) standard #25, "Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems."

Source: 29 SDR 95, effective January 6, 2003; transferred from § 20:38:22:06.04, 30 SDR 204, effective June 24, 2004; 33 SDR 70, effective June 20, 2006; transferred from § 20:38:22:13, 38 SDR 121, effective January 16, 2012.

General Authority: 36-18A-22(5).

Law Implemented: 36-18A-3, 36-18A-9.