44:73:02:11.  Plumbing. A facility's plumbing systems must be designed and installed in accordance with SDCL 36-25-15 and 36-25-15.1 and article 20:54. Plumbing must be sized, installed, and maintained to carry required quantities of water to required locations throughout the facility.

Source: SL 1975, ch 16, § 1; 6 SDR 93, effective July 1, 1980; 14 SDR 81, effective December 10, 1987; 22 SDR 70, effective November 19, 1995; transferred from § 44:04:02:10, 42 SDR 51, effective October 13, 2015; 51 SDR 53, effective November 11, 2024.

General Authority: SDCL 34-12-13.

Law Implemented: SDCL 34-12-13.