44:76:02:03.  Cleaning methods and facilities. The facility shall have supplies, equipment, work areas, and complete written procedures for cleaning, sanitizing, disinfecting, or sterilizing all work areas, equipment, utensils, and medical devices used for patients' care. Common use equipment shall be disinfected or sterilized after each use. Facilities shall have separate clean and soiled utility rooms.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(2).

Law Implemented: SDCL 34-12-13(2).