44:76:02:13.  Ventilation. Electrically powered exhaust ventilation shall be provided in all soiled areas, wet areas, toilet rooms, and storage rooms. Clean storage rooms may also be ventilated by supplying and returning air from the building's air-handling system.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).