44:76:02:14.  Lighting. Spaces occupied by people, machinery, and equipment within buildings and their approaches and parking lots shall have artificial lighting at a level for general safety. Required exits shall be equipped with continuous emergency lighting. Emergency power shall be provided if the main source of power fails.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).