44:76:02:22.  Heating and cooling. The temperature in any occupied space in the facility shall be maintained between 68 and 80 degrees Fahrenheit during business hours.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).