44:76:09:03.  Technical laboratory operations. Each laboratory shall have a policy and procedural manual for each phase of operation. There shall be a quality control program to insure the reliability of laboratory test data. Each item of diagnostic test equipment shall be routinely checked and shall be precise in terms of calibration as shown by records maintained in the laboratory.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(11).

Law Implemented: SDCL 34-12-13(11).