44:76:09:05.  Diagnostic x-ray services. Each facility shall be able to provide or arrange with an outside service for the provision of diagnostic radiology services in connection with surgery to be performed. Safety and sanitation procedures as required by the department for the radiological service which will protect the patient and the radiological worker shall be established and enforced. There shall be a quality control program with records maintained in the facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(11).

Law Implemented: SDCL 34-12-13(11).

Cross-Reference: Radiation safety, art 44:03.