44:76:11:12.  X ray protection. Protection of X ray and gamma ray installations shall conform to requirements in "Medical X ray, Electron Beam, and Gamma ray Protection for Energies up to 50 MeV--Equipment Design and Use," NCRP Report No. 102, 1989, and in "Structural Shielding Design and Evaluation for Medical Use of X rays and Gamma rays of Energies up to 10 MeV," NCRP Report No. 49, 1976.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (14).

Law Implemented: SDCL 34-12-13(1) and (14).

References: "Medical X ray, Electron Beam, and Gamma ray Protection for Energies up to 50 MeV--Equipment Design and Use," NCRP Report No. 102, National Council on Radiation Protection and Measurements, June 30, 1989. Copies may be obtained from National Council on Radiation Protection and Measurements, 7910 Woodmont Avenue, Suite 400, Bethesda, MD 20814. Cost: $45.

"Structural Shielding Design and Evaluation for Medical Use of X rays and Gamma rays of Energies up to 10 MeV," NCRP Report No. 49, National Council on Radiation Protection and Measurements, September 15, 1976. Copies may be obtained from National Council on Radiation Protection and Measurements, 7910 Woodmont Avenue, Suite 400, Bethesda, MD 20814. Cost: $40.