44:76:11:13.  Ceiling heights. The ceilings of corridors, storage rooms, patient toilet rooms, and other minor rooms may not be less than seven feet, eight inches (2.34 meters). The ceilings of all other rooms may not be less than seven feet, ten inches (2.39 meters).

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).