44:76:11:14.  Insulation. Boiler rooms, food preparation centers, and laundries shall be insulated and ventilated to prevent any floor surface above them from exceeding a temperature of 85 degrees Fahrenheit (29.4 degrees centigrade). All combustible insulation within the building shall be covered with a fire-resistive material giving fire protection equivalent to one half inch (0.01 meters) gypsum board, unless tested and acceptable by International Building Code, 2012 edition, 2603.4 for use without a thermal barrier as installed.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Reference: International Building Code, 2012 edition. Copies may be obtained from International Conference of Building Officials, 5360 South Workman Mill Road, Whittier, California 90601-2298. Phone: (562) 699-0541. Cost: $89.00.