44:76:12:03.  Service areas in surgical suite. The size of the service areas in each surgical suite depends on the surgical workload. Each surgical suite shall include the following service areas:

(1)  A surgical supervisor station;

(2)  Sterilizing facilities near the operating room with high speed autoclave;

(3)  Facilities for storage and preparation of medication;

(4)  Scrub-up facilities located adjacent to operating rooms;

(5)  Soiled workroom containing a work counter clinical sink, hand sink, waste receptacle, and soiled linen receptacles;

(6)  Storage for sterile and unsterile supplies, which may be in a clean workroom;

(7)  Storage room or cabinet for anesthetic agents;

(8)  Nitrous oxide and oxygen facilities with storage room if these services are not piped in;

(9)  Clean work area for storage and assembly of supplies containing counter and sink;

(10)  Equipment storage area for surgical and monitoring equipment;

(11)  Floor receptor or service sink and storage for housekeeping supplies and equipment;

(12)  Clothing change areas, lockers, and toilet rooms for doctors, nurses, technicians, and other personnel;

(13)  Holding area for patients in facilities with two or more operating rooms; and

(14)  Stretcher alcove.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (3), and (4).

Law Implemented: SDCL 34-12-13(1), (3), and (4).