44:76:12:04.  Diagnostic imaging suite. The diagnostic imaging suite shall contain:

(1)  One or more radiographic rooms with necessary radiation protection;

(2)  A film processing room, if required;

(3)  A film filing room;

(4)  Toilet room adjoining each fluoroscopy and ultrasound room;

(5)  Dressing area for ambulatory patients;

(6)  Holding area for stretcher patients;

(7)  Waiting space; and

(8)  An office with film viewing facilities.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (3), and (4).

Law Implemented: SDCL 34-12-13(1), (3), and (4).