44:77:02:03.  Cleaning methods and facilities. The facility shall have supplies, equipment, work areas, and complete written procedures for cleaning, sanitizing, or disinfecting all work areas, equipment, utensils, and medical devices used by residents. Common use equipment shall be disinfected after each use.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(2).

Law Implemented: SDCL 34-12-13(2).