44:79:10:04.  Storage rooms. There shall be at least 10 square feet (0.929 square meters) of central storage provided for each bed. General storage shall be concentrated in one area in the facility, but up to 50 percent of the general storage space may be provided on the premises.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).