44:79:10:15.  Wall and ceiling finish. Walls shall be washable, and in the immediate area of plumbing fixtures the finish shall be protected from water damage. Wall bases in dietary areas shall be free of spaces that can harbor insects. All dietary ceilings shall be washable or easily cleanable.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).