44:79:10:20.  Hot water systems. The facility shall install a recirculating system to provide hot water to all fixtures. The hot water heating equipment shall have sufficient capacity to supply water at the temperature and amounts to meet the needs of the facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (4), and (14).

Law Implemented: SDCL 34-12-13(1), (4), and (14).