44:79:10:25.  Emergency electrical service. Each facility shall have a Type 2, Essential Electrical System in accordance with the National Fire Protection Association (NFPA 99 Health Care Facilities Code, 2012 Edition). Automatic emergency lighting shall also be provided at staff work station, medication room, room where main electrical panel is located, and boiler room. Emergency electrical service shall be provided from an automatic generator set and automatic transfer switches serving emergency panels.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Reference: NFPA 99 Health Care Facilities Code, 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, MA 02269-9101. Phone: 1-800-344-3555. Cost: $66.50.