44:79:10:27.  Submittal of plans and specifications. Plans and specifications for new construction shall be submitted to the department for evaluation of function and fire protection. The department's approval shall be obtained before beginning construction. Modification during construction shall be submitted to the department for review and shall be approved prior to the modification. A written narrative describing the intended use of the proposed construction shall accompany the plans and specifications.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).