ADMINISTRATIVE RULES

of

SOUTH DAKOTA

Cite as ARSD _______

DEPARTMENT OF HEALTH

ARTICLE 44:79

INPATIENT HOSPICE FACILITIES

Published By

South Dakota Legislative Research Council

Printed April 19, 2021

ARTICLE 44:79

INPATIENT HOSPICE FACILITIES

Chapter

44:79:01			Rules of general applicability.

44:79:02			Physical environment.

44:79:03			Fire protection.

44:79:04			Management and administration.

44:79:05			Nursing and related care services.

44:79:06			Dietetic services.

44:79:07			Medication control.

44:79:08			Medical record services.

44:79:09			Patients' and families rights.

44:79:10			Construction standards.

CHAPTER 44:79:01

RULES OF GENERAL APPLICABILITY

Section

44:79:01:01		Definitions.

44:79:01:02		Posting of license

44:79:01:03		Name of hospice.

44:79:01:04		Bed capacity.

44:79:01:05		Restrictions on acceptance of patients.

44:79:01:06		Joint occupancy.

44:79:01:07		Reports.

44:79:01:08		Plans of correction.

44:79:01:09		Modifications.

44:79:01:10		Scope of article.

44:79:01:01.  Definitions. Terms defined in SDCL 34-12-1.1 have the same meaning in this article. In addition, terms used in this article mean:

(1)  "Abuse," an intentional act toward an individual indicating that one or more of the following has occurred:

(a)  A criminal conviction against a person for mistreatment toward an individual; or

(b)  In the absence of a criminal conviction, substantial evidence that one or more of the following has occurred resulting in harm, pain, fear, or mental anguish:

(i)  Misappropriation of a patient's or patient's property or funds;

(ii)  An attempt to commit a crime against a resident or patient;

(iii)  Physical harm or injury against a patient; or

(iv)  Using profanity, making a gesture, or engaging in other any act made to or directed at a patient or patient;

(2)  "Adequate staff," a sufficient number of qualified personnel to perform the duties required to meet the performance criteria established by this article;

(3)  "Administrator," a person appointed by the owner or governing body of a facility who is responsible for the daily overall management of the facility, who may maintain an office on the premises of the facility, and appoints a qualified person to represent the administrator during the administrator's absence;

(4)  "Client advocate," an agency responsible for the protection and advocacy of patients and residents, including the department, the state ombudsman, and the protection and advocacy network;

(5)  "Department," the South Dakota Department of Health;

(6)  "Dietary manager," a person who is a dietitian, a graduate of an accredited dietetic technician or dietetic manager training program, a graduate of a course that provides 120 or more hours of classroom instruction in food service supervision, or a certified dietary manager recognized by the National Certifying Board of Dietary Managers and who functions with consultation from a dietitian;

(7)  "Dietitian," a person who is registered with the Academy of Nutrition and Dietetics and holds a current license to practice in South Dakota pursuant to SDCL chapter 36-10B;

(8)  "Distinct part," an identifiable unit, such as an entire ward or contiguous wards, wing, floor, or building, which is licensed at a specific level. It consists of all beds and related facilities in the unit;

(9)  "Emergency care," professional health services immediately necessary to preserve life or stabilize health due to the sudden, severe, and unforeseen onset of illness or accidental bodily injury;

(10)  "Exploitation," the wrongful taking or exercising of control over property of a person with intent to defraud that person;

(11)  "Facility," the place of business licensed by the department used to provide health care for inpatient hospice patients;

(12)  "Governing body," is an individual, partnership, or an organized body of persons that is ultimately responsible for the quality of care in an inpatient hospice facility, credentialing of and granting privileges to the medical staff, maintaining the financial viability of the facility, and formulating institutional policies and procedures, or bylaws governing the operation of the facility;

(13)  "Healthcare worker," any paid person working in a healthcare setting;

(14)  "Hospice services," a coordinated interdisciplinary program of health care that provides or coordinates palliative and supportive care to meet the needs of a terminally ill patient and the patient's family. The needs arise out of physical, psychological, spiritual, social, and economic stresses experienced during the final stages of illness and dying and that includes formal bereavement programs as an essential component;

(15)  "Interdisciplinary team," a group of persons selected from multiple health disciplines who have a diversity of knowledge and skills and who function as a unit to collectively address the medical, physical, mental or cognitive, and psychosocial needs of a patient;

(16)  "Legend drug," any drug that requires the label bearing the statement "Caution: Federal law prohibits dispensing without prescription";

(17)  "Licensed health professional," a physician; physician's assistant; nurse practitioner; physical, speech, or occupational therapist; physical or occupational therapy assistant; nurse; nursing facility administrator; dietitian; pharmacist; respiratory therapist; or social worker who holds a current license to practice in South Dakota;

(18)  "Medical staff," an organized staff composed of practitioners that operates under bylaws approved by the governing body and which is responsible for reviewing the qualifications of practitioners applying for clinical privileges and for the provision of medical care to patients in a facility;

(19)  "Misappropriation of resident or patient property," the deliberate misplacement, exploitation, or wrongful, temporary or permanent use of a resident's or patient's belongings or money without the resident's or patient's consent;

(20)  "Neglect," harm to a person's health or welfare, without reasonable justification, caused by the conduct of someone responsible for the person's health or welfare, including offensive behavior made to or directed at a patient or resident, and the failure to provide timely, consistent, and safe services, treatment, or care necessary to avoid physical harm, mental anguish, or mental illness to the person;

(21)  "Nurse," a registered nurse or a licensed practical nurse who holds a current license to practice in South Dakota pursuant to SDCL chapter 36-9;

(22)  "Nurse practitioner," a person who practices the specialty nurse practitioner as authorized pursuant to SDCL chapter 36-9A;

(23)  "Nursing personnel," staff which includes registered nurses, licensed practical nurses, nurse aides, restorative aides, and unlicensed assistive personnel;

(24)  "Nursing unit," a patient unit that is limited to one floor of a hospice and has all patient room entrances and exits within sight or control of nursing personnel;

(25)  "Patient," a person with a valid order by a physician to receive hospice services in an inpatient hospice;

(26)  "Pharmacist," a person registered to practice pharmacy pursuant to SDCL chapter 36-11;

(27)  "Physician," a person who is licensed or approved to practice medicine pursuant to SDCL chapter 36-4;

(28)  "Practitioner," one of the following:

(a)  A physician or surgeon licensed or approved to practice medicine pursuant to SDCL chapter 36-4;

(b)  A pharmacist licensed pursuant to SDCL chapter 36-11; or

(c)  A nurse practitioner licensed pursuant to SDCL chapter 36-9A; or

(29)  "Protection and advocacy network," agencies responsible for the protection and advocacy of individuals with developmental disabilities or mental illness, established under the Developmental Disabilities Assistance and Bill of Rights Act of 2000, Pub. L. No. 106-402 (October 30, 2000), codified at 42 U.S.C. § 15041 to 15045, and the Protection and Advocacy for Persons with Mental Illness Act of 2000, Pub. L. No. 106-310 (October 17, 2000), codified at 42 U.S.C. §§ 10801 to 10851, inclusive;

(30)  "Qualified personnel," persons with the specific education or training to provide the health service for which they are employed;

(31)  "Regular diet," a nutritionally adequate diet using food items and written recipes that can be prepared and correctly served by a staff person;

(32)  "Respite care," care permitted within the scope of a facility license, with a limited stay no greater than 30 days for any one patient;

(33)  "Restraint," a physical, chemical, or mechanical device used to restrict the movement of a patient or the movement or normal function of a portion of the patient's body, excluding devices used for specific medical and surgical treatment;

(34)  "Self-administration of medications," the removal of the correct dosage from the pharmaceutical container and self-injecting, self-ingesting, or self-applying the medication with no assistance or with assistance from qualified personnel of the facility for the correct dosage or frequency;

(35)  "Social worker," a person who is licensed pursuant to SDCL chapter 36-26;

(36)  "Terminal illness," a medical prognosis that the individual's life expectancy is six months or less if the illness runs its normal course;

(37)  "Therapeutic diet," any diet other than a regular diet, excluding low sodium diets, that is ordered by a physician as part of the treatment for a disease or clinical condition to increase, decrease, or to eliminate certain substances in the diet, and to alter food consistency;

(38)  "Transfer or discharge," the movement of a patient to a bed outside the distinct part or outside the facility;

(39)  "Treatment," a medical aid provided for the purposes of palliating symptoms, improving functional level, or maintaining or restoring health; and

(40)  "Unlicensed assistive personnel," a person who is not licensed as a nurse under SDCL chapter 36-9 but who is trained to assist a licensed nurse in the provision of nursing care to a patient or resident as delegated by the nurse and authorized by chapter 20:48:04.01.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13.

Law Implemented: SDCL 34-12-13, 34-12-32.

Note: National Certification Council of Activity Professionals, 520 Stewart, Park Ridge, IL 60068. Phone (708) 698-4263.

44:79:01:02.  Posting of License. The most current license issued by the department shall be posted on the premises of the facility in a place conspicuous to the public. Each facility address shall show a current license. The license certificate remains the property of the department.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-7.

Law Implemented: SDCL 34-12-7.

44:79:01:03.  Name of hospice. Each hospice shall be designated by a pertinent and distinctive name that shall be used in applying for a license. The name may not be changed without first notifying the department in writing. No hospice may be given a name or advertise in a way that implies services rendered are in excess of the classification for which it is licensed or which would indicate an ownership other than actual.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-7.

Law Implemented: SDCL 34-12-7.

44:79:01:04.  Bed capacity. The department shall establish the bed capacity of each hospice pursuant to the physical plant and space provisions of this article. The patient census may not exceed the bed capacity for which the facility is licensed. A request by the hospice for an adjustment in bed capacity because of change of purpose or construction shall be approved by the department before any changes are made.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-7.

Law Implemented: SDCL 34-12-7.

44:79:01:05.  Restrictions on acceptance of patients. A hospice shall accept patients in accordance with the following restrictions:

(1)  The hospice facility shall be certified by the Centers for Medicare and Medicaid Services as a Medicare certified hospice providing inpatient hospice services;

(2)  A patient accepted for care by a hospice shall be housed within the facility covered by the license;

(3)  A hospice may not accept or retain a patient who requires care in excess of the classification for which it is licensed;

(4)  Personnel essential to maintaining adequate staff may not leave a hospice during the person's tour of duty in the hospice to provide services to a person who is not patient of the hospice with the exception of providing emergency care on premises contiguous to the hospice's property; and

(5)  A hospice facility may only admit and retain a patient certified by a physician as terminally ill.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-7, 34-12-13(5).

Law Implemented: SDCL 34-12-7, 34-12-13(5).

44:79:01:06.  Joint occupancy. The use of a portion of a building for a purpose other than that covered by the license may be approved by the department only if it can be shown that joint occupancy is not detrimental to the welfare of the patients. The area shall be open to inspection by the department.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:01:07.  Reports. Each facility shall fax, email, or mail to the department the pertinent data necessary to comply with the requirements of all applicable administrative rules and statutes.

Any incident or event where there is reasonable cause to suspect abuse or neglect of any patient by any person shall be reported within 24 hours of becoming informed of the alleged incident or event. The facility shall report each incident or event orally or in writing to the state's attorney of the county in which the facility is located, to the Department of Social Services, or to a law enforcement officer. The facility shall report each incident or event to the department within 24 hours, and conduct a subsequent internal investigation and provide a written report of the results to the department within five working days after the event.

Each facility shall report to the department within 48 hours of the event any death resulting from other than natural causes originating on facility property such as accidents or suicide. The facility shall conduct a subsequent internal investigation and provide a written report of the results to the department within five working days after the event.

Each facility shall report a missing patient to the department within 48 hours. The facility shall conduct a subsequent internal investigation and provide a written report of the results to the department within five working days after the event.

Each facility shall also report to the department as soon as possible any fire with damage or where injury or death occurs; any partial or complete evacuation of the facility resulting from natural disaster; or any loss of utilities, such as electricity, natural gas, telephone, emergency generator, fire alarm, sprinklers, and other critical equipment necessary for operation of the facility for more than 24 hours.

Each facility shall notify the department of any anticipated closure or discontinuation of service at least 30 days in advance of the effective date.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

44:79:01:08.  Plans of correction. Within 10 days of the receipt of the statement of deficiencies, each hospice shall submit to the department a written plan of correction for the citation of noncompliance with licensure requirements. The plan of correction shall be signed, dated, and on forms provided by the department. The department may reject the plan of correction if there is no evidence the plan will cause the hospice to attain or maintain compliance with SDCL chapter 34-12 and this article.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:01:09.  Modifications. A modification to the staffing requirements provided in § 44:79:03:02 may be approved by the department for licensed hospices which are physically combined and jointly operated. The health and safety of the patient either facility may not be jeopardized. A modification pursuant to this section may be requested in writing by the hospice.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5) and (14).

Law Implemented: SDCL 34-12-13(5) and (14).

44:79:01:10.  Scope of article. Nothing in article 44:79 limits or expands the rights of any healthcare worker to provide services within the scope of the professional's license, certification, or registration, as provided by South Dakota law.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

CHAPTER 44:79:02

PHYSICAL ENVIRONMENT

Section

44:79:02:01		Sanitation.

44:79:02:02		Pets.

44:79:02:03		Cleaning methods and facilities.

44:79:02:04		Chemicals used to sanitize, disinfect, or sterilize.

44:79:02:05		Food service.

44:79:02:06		Handwashing facilities.

44:79:02:07		Linen.

44:79:02:08		Infection control.

44:79:02:09		Refuse and waste disposal.

44:79:02:10		Occupant protection.

44:79:02:11		Area requirements for currently licensed patient rooms.

44:79:02:12		Location.

44:79:02:13		Water supply.

44:79:02:14		Other hazardous conditions.

44:79:02:01.  Sanitation. The hospice shall be designed, constructed, maintained, and operated to minimize the sources and transmission of infectious diseases to clients, personnel, visitors, and the community at large.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).

44:79:02:02.  Pets. No pet kept in or visiting a hospice may negatively affect the well-being of a patient.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).

Cross-Reference: Physically disabled, blind or deaf person's right to be accompanied by guide dog without extra charge, SDCL 20-13-23.2.

44:79:02:03.  Cleaning methods and facilities. The hospice shall have supplies, equipment, work areas, and complete written procedures for cleaning, sanitizing, or disinfecting all work areas, equipment, utensils, and medical devices used for patient's care. Common use equipment shall be disinfected after each use. Facilities shall have a separate clean and soiled utility rooms. All parts of the hospice shall be kept clean, neat, and free of visible soil, litter, or rubbish.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(2)

Law Implemented: SDCL 34-12-13(2)

44:79:02:04.  Chemicals used to sanitize, disinfect, or sterilize. The label of chemicals used to sanitize, disinfect, or sterilize shall indicate registration with the Environmental Protection Agency as effective, safe, and approved for their intended use.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(2).

Law Implemented: SDCL 34-12-13(2).

44:79:02:05.  Food service. If an in-house food service is provided, the hospice shall meet the safety and sanitation procedures for food service in §§ 44:02:07:01, 44:02:07:02, and 44:02:07:04 to 44:02:07:95, inclusive, the Food Service Code. The hospice shall have the space, equipment, supplies, and mechanical systems for efficient, safe, and sanitary food preparation.  If the hospice food service is contracted out, the contractor shall be a licensed food service establishment that is inspected by a local, state, or federal authority. The facility shall ensure that food is prepared and served in a manner that is safe and palatable. Hot food shall be held at or above 135 degrees Fahrenheit (57.2 degrees Centigrade) and served promptly after being removed from the temperature holding device. Cold foods shall be held at or below 41 degrees Fahrenheit (five degrees centigrade) and served promptly after being removed from the holding device.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5) and (8).

Law Implemented: SDCL 34-12-13(5) and (8).

Note: Article 44:02, Lodging and Food Service, Administrative Rules of South Dakota, contains the Food Service Code and may be obtained from Legislative Mail, 1320 East Sioux Avenue, Pierre, South Dakota 57501, telephone (605) 773-4935, for $4.14.

44:79:02:06.  Handwashing facilities. Handwashing facilities consisting of hot and cold running water dispensed through a mixing faucet controlled with blade handles or other hands-free controls, a towel dispenser with single-service towels or a hand-drying device, and hand cleanser shall be located at dietary areas, utility rooms, staff stations, laundry, and all toilet rooms not directly connected to resident rooms. A handwashing facility shall be provided in each resident room. If existing faucets and controls are replaced or changed, they shall be replaced with mixing faucets controlled with blade handles or other hands-free controls.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (4).

Law Implemented: SDCL 34-12-13(1) and (4).

Cross-Reference: Plumbing fixtures, § 44:80:10:21.

44:79:02:07.  Linen. The hospice shall contract with a commercial laundry service or the laundry service of another licensed health care facility for all common use linens if laundry services are not provided on the premises. The facility shall process laundry following the laundry equipment and cleaning agent recommendations. A hospice providing laundry services shall have adequate space and equipment for the safe and effective operation of the laundry service. Closed containers shall be used during transport and the arrangement of equipment and the handling of linens shall prevent soiled linens from contacting the processed clean linens.  Air flow in the linen processing shall be from clean processing areas toward the soiled holding and sorting area.  Clean linens shall be covered during transport to storage areas.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (4).

Law Implemented: SDCL 34-12-13(1) and (4).

44:79:02:08.  Infection control. The infection prevention and control program shall utilize the concept of standard precautions. Bloodborne pathogen control shall be maintained according to the requirements contained in 29 C.F.R. 1910.1030, July 1, 2006. The hospice shall designate an employee to be responsible for the implementation of the infection control program including surveillance and reporting activities. There shall be written procedures that govern the use of aseptic techniques and procedures in all areas of the facility. Each hospice shall develop policies and procedures for the handling and storage of potentially hazardous substances (including lab specimens). There shall be a method of control if sterilize supplies are used and a written policy if sterile supplies are reprocessed. The hospice shall provide orientation and continuing education to all personnel on the cause, effect, transmission, prevention, and elimination of infections. Each hospice shall develop a written policy for evaluation and reporting of any employee with a reportable infectious disease.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), 34-22-9(8).

Law Implemented: SDCL 34-12-13(1).

44:79:02:09.  Refuse and waste disposal. Garbage, refuse, and waste shall be handled and disposed of in a safe and sanitary manner. Final disposal of all refuse and waste shall comply with articles 74:27 and 74:28. Putrescible garbage shall be removed at a frequency to contain or prevent odors, insects, and vermin.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).

44:79:02:10.  Occupant protection. Each hospice shall be constructed, arranged, equipped, maintained, and operated to avoid injury or danger to the occupants. The extent and complexity of occupant protection precautions is determined by the services offered and the physical needs of the patients admitted to the facility. The hospice shall take at least the following precautions:

(1)  Develop and implement a written and scheduled preventive maintenance program;

(2)  Provide securely constructed and conveniently located grab bars in all toilet rooms and bathing areas used by patients;

(3)  Provide a call system for each patient bed and in all toilet rooms and bathing facilities routinely used by patients. The call system shall be capable of being easily activated by the patient and shall register at a staff station. A wireless call system may be used;

(4)  Ground fault circuit interrupters shall be provided in wet areas and for outlets within six feet of sinks;

(5)  A portable space heater, portable halogen lamp, household-type electric blanket, or household-type heating pad may not be used in a facility;

(6)  Any light fixture located over a patient bed, in any bathing or treatment area, in a clean supply storage room, in any laundry clean linen storage area, or in any medication set-up area shall be equipped with a lens cover or a shatterproof lamp;

(7)  Any clothes dryer shall have a galvanized metal vent pipe for exhaust; and

(8)  The storage and transfilling of oxygen cylinders or containers shall meet the requirements of the NFPA 99 Standard for Health Care Occupancies, 2012 Edition.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

Reference: NFPA 99 Health Care Facilities, 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, MA 02269-9101. Phone: 1-800-344-3555. Cost: $66.50.

44:79:02:11.  Area requirements for currently licensed patient rooms. Each currently licensed hospice patient room shall have at least 120 square feet (11.15 square meters) of floor space per bed, exclusive of closets and wardrobes. Each hospice shall have 10 square feet (0.93 square meters) of general storage for each bed. A total of 40 square feet (3.72 square meters) of dining and lounge area for each patient shall be provided in a facility. Each hospice shall be constructed, equipped, and operated to maintain the privacy, comfort, and dignity of all patients.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

Cross-Reference: Area requirements for new construction or renovations, §  44:79:10:08(2).

44:79:02:12.  Location. The location of a hospice shall promote the health, treatment, comfort, safety, and well-being of persons accepted and retained for care.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (3), and (14).

Law Implemented: SDCL 34-12-13(1), (3), and (14).

44:79:02:13.  Water supply. The facility's water supply shall be obtained from a public water system or, in its absence, from a supply approved by the Department of Agriculture and Natural Resources. Private water supplies shall have a water sample bacteriologically tested at least monthly. The volume of water shall be sufficient for the needs of the facility, including fire fighting requirements. The hot water system shall be capable of supplying the work and patient areas with water at the required temperatures. Maximum hot water temperatures at plumbing fixtures used by patients may not exceed 125 degrees Fahrenheit (52 degrees centigrade). The minimum temperature of hot water for patient use shall be at least 100 degrees Fahrenheit (38 degrees centigrade).

Each water supply system shall maintain one part per million free residual chlorine at remote point-of-use fixtures in the facility or may use another bacteriological control method, such as increasing water temperature range from 122 degrees to 125 degrees Fahrenheit (50-52 degrees centigrade), that has been demonstrated to be equivalent in control of Legionella. The facility shall document water temperatures to verify the hot water temperature is being maintained within the acceptable range. The chlorine testing shall be done daily using photocell and light source DPD (N, N, Diethyl-p-phenylenediamine) test kits, and the test results logged. If testing demonstrates that consistent chlorine levels are maintained, the frequency of testing may be reduced to a level necessary to demonstrate compliance.

Source: 42 SDR 51, effective October 13, 2015; SL 2021, ch 1, §§ 8, 19, effective April 19, 2021.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).

Cross-References: Standards adopted for plumbing -- Conformity to National Code, SDCL 36-25-15; Scope and objectives of plumbing standards and rules, SDCL 36-25-15.1.

44:79:02:14.  Other hazardous conditions. A hospice may be directed to remove or correct other hazardous conditions not covered in this chapter if the department considers the conditions to have a potential to cause injury or illness to the patients or staff.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1).

Law Implemented: SDCL 34-12-13(1).

CHAPTER 44:79:03

FIRE PROTECTION

Section

44:79:03:01		Fire safety code requirements.

44:79:03:02		General fire safety.

44:79:03:03		Detached structures.

44:79:03:01.  Fire safety code requirements. Each hospice shall meet applicable fire safety standards in NFPA 101 Life Safety Code, 2000 edition.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Reference: NFPA 101 Life Safety Code, 2000 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, Massachusetts 02269-9101. Phone: 1-800-344-3555. Cost: $ 93.00.

44:79:03:02.  General fire safety. Each hospice shall be constructed, arranged, equipped, maintained, and operated to avoid undue danger to the lives and safety of its occupants from fire, smoke, fumes, or resulting panic during the period of time reasonably necessary for escape from the structure in case of fire or other emergency. The fire alarm system shall be sounded each month. At least two staff members shall be on duty at all times. In a multilevel hospice, at least one staff member shall be on duty on each floor containing occupied beds.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Cross-Reference: Fire safety code requirements, § 44:79:03:01.

44:79:03:03.  Detached structures. A detached structure or auxiliary building used for combustible storage or vehicle parking built adjacent to, but not directly attached to, a hospice shall either be separated from the facility by a minimum distance of 20 feet, equipped with automatic sprinkler protection, or provided with two-hour fire rated separation.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

CHAPTER 44:79:04

MANAGEMENT AND ADMINISTRATION

Section

44:79:04:01		Governing body.

44:79:04:02		Administrator.

44:79:04:03		Personnel.

44:79:04:04		Personnel training.

44:79:04:05		Employee health program.

44:79:04:06		Tuberculin screening requirements.

44:79:04:07		Admissions of patients.

44:79:04:08		Care policies.

44:79:04:09		Discharge planning.

44:79:04:10		Quality assessment.

44:79:04:01.  Governing body. Each facility operated by limited liability partnership, a corporation, or political subdivision shall have an organized governing body legally responsible for the overall conduct of the facility. If the facility is operated by an individual or partnership, the individual or partnership shall carry out the functions in this chapter pertaining to the governing body. The governing body shall establish and maintain administration policies, procedures, or bylaws governing the operation of the facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:04:02.  Administrator. The governing body shall designate a qualified administrator to represent the owner or governing body and to be responsible for the daily overall management of the facility. The administrator shall designate a qualified person to represent the administrator during the administrator's absence. The governing body shall notify the department in writing of any change of administrator.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:04:03.  Personnel. The hospice shall have a sufficient number of qualified personnel to provide effective and safe care. Written job descriptions and personnel policies and procedures shall be made available to personnel of all departments and services. The hospice may not knowingly employ any person with a conviction for abusing another person. The hospice shall establish and follow policies regarding special duty or staff members on contract.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:04:04.  Personnel training. The hospice shall have a formal orientation program and an ongoing education program for all personnel. Ongoing education programs shall cover the required subjects annually. These programs shall include the following subjects:

(1)  Fire prevention and response. The hospice shall conduct fire drills quarterly for each shift to train all staff. Silent or code announcement drills may be conducted;

(2)  Emergency procedures and preparedness;

(3)  Infection control and prevention;

(4)  Accident prevention and safety procedures;

(5)  Proper use of restraints;

(6)  Patient rights;

(7)  Hospice philosophy and death & dying;

(8)  Confidentiality of patient information;

(9)  Incidents and diseases subject to mandatory reporting and the hospices reporting mechanisms;

(10)  Care of patients with special or unique needs; and

(11)  Dining assistance, nutritional risks, and hydration needs of patients.

Any personnel whom the hospice determines will have no contact with patients are exempt from training required by subdivisions (5), (7), (9), (10) and (11) of this section.

Additional personnel education shall be based on hospice identified needs.

Current professional and technical reference books and periodicals shall be made available for personnel.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:04:05.  Employee health program. The hospice shall have an employee health program for the protection of the patients. All personnel shall be evaluated by a licensed health professional for freedom from reportable communicable disease which poses a threat to others before assignment to duties or within 14 days after employment including an assessment of previous vaccinations and tuberculin skin tests. The hospice may not allow anyone with a communicable disease, during the period of communicability, to work in a capacity that would allow spread of the disease. Any personnel absent from duty because of a reportable communicable disease which may endanger the health of patients and fellow employees may not return to duty until they are determined by a physician, physician's designee, physician assistant, nurse practitioner, or clinical nurse specialist to no longer have the disease in a communicable stage.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (5), and (14).

Law Implemented: SDCL 34-12-13(1), (5), and (14).

Cross-Reference: Reportable diseases and conditions, ch 44:20:01.

44:79:04:06.  Tuberculin screening requirements. Each facility shall develop criteria to screen healthcare workers for Mycobacterium tuberculosis (TB) based on the guidelines issued by Centers for Disease Control and Prevention. Each facility shall establish policies and procedures for conducting Mycobacterium tuberculosis risk assessment that include the key components of responsibility, surveillance, containment, and education. The frequency of repeat screening shall depend upon annual risk assessments conducted by the facility.

Tuberculin screening requirements for healthcare workers are as follows:

(1)  Each new healthcare worker shall receive the two-step method of tuberculin skin test or a TB blood assay test to establish a baseline within 14 days of employment. Any two documented tuberculin skin tests completed within a 12 month period prior to the date of employment can be considered a two-step or one blood assay TB test completed within a 12 month period prior to the date of employment can be considered an adequate baseline test. Skin testing or TB blood assay tests are not necessary if a new employee transfers from one licensed healthcare facility to another licensed healthcare facility within the state if the facility received documentation of the last skin testing completed within the prior 12 months. Skin testing or TB blood assay tests are not necessary if documentation is provided of a previous positive reaction to either test. Any new healthcare worker who has a newly recognized positive reaction to the skin test or TB blood assay test shall have a medical evaluation and a chest X-ray to determine the presence or absence of the active disease;

(2)  A new healthcare worker who provides documentation of a positive reaction to the tuberculin skin test or TB blood assay test shall have a medical evaluation and chest X-ray to determine the presence or absence of the active disease; and

(3)  Each healthcare worker with a history of a positive reaction to the tuberculin skin test or blood assay shall be evaluated annually by a physician, physician assistant, nurse practitioner, clinical nurse specialist, or a nurse and a record maintained of the presence or absence of symptoms of Mycobacterium tuberculosis. If this evaluation results in suspicion of active tuberculosis, the person shall be referred for further medical evaluation to confirm the presence or absence of tuberculosis.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (5), and (14), 34-22-9.

Law Implemented: SDCL 34-12-13(1), (5), and (14).

Reference: Reference: Guidelines for Preventing the Transmission of Mycobacterium Tuberculosis in Health-Care Facilities, 2005. "Centers for Disease Control and Prevention Morbidity and Mortality Weekly Report," December 30, 2005 (RR17).

44:79:04:07.  Admissions of patients. The governing body of the hospice shall establish and maintain admission, transfer, and discharge policies, with written evidence to assure the patients admitted to and retained in the hospice are within the licensure classification of the facility. The hospice may admit and retain, on the orders of a physician, only those patients for whom it can provide care safely and effectively.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:04:08.  Care policies. Each hospice shall establish and maintain policies, procedures, and practices that follow accepted standards of professional practice to govern care, and related medical or other services necessary to meet the patients’ needs. Each hospice shall establish and maintain policies and procedures for the management of respite care patients if the hospice offers those services.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5).

Law Implemented: SDCL 34-12-13(5).

44:79:04:09. Discharge planning. Each facility shall have policies and procedures for discharge planning.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5) and (14).

Law Implemented: SDCL 34-12-13(5) and (14).

44:79:04:10.  Quality assessment. Each hospice shall provide for on-going evaluation of the quality of services provided to patients and families.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(5) and (14).

Law Implemented: SDCL 34-12-13(5) and (14).

CHAPTER 44:79:05

NURSING AND RELATED CARE SERVICES

Section

44:79:05:01.		Admissions.

44:79:05:02		Medical orders.

44:79:05:03		Physician services for hospice patients.

44:79:05:04		Nursing policies and procedures.

44:79:05:01.  Admissions. Each patient may be admitted only on the order of a physician. Prior to or upon admission of a patient, the attending physician shall provide the staff of the facility with documented information regarding current medical findings and with written orders for the immediate care of the individual.

A physician may not delegate a task when the regulations specify the physician shall perform it personally, or when the delegation is prohibited under state law or by the facility's own policies.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(6).

Law Implemented: SDCL 34-12-13(6).

44:79:05:02.  Medical orders. All medical orders shall be in writing or electronic format and signed by the physician. Verbal orders are for medications, treatment, interventions, or other patient care that are transmitted as oral, spoken communications between senders and receivers, delivered either face-to-face or via telephone. Verbal orders may be taken only when there is an urgent need to initiate or change a medical order.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(6).

Law Implemented: SDCL 34-12-13(6).

44:79:05:03.  Physician services for hospice patients. A facility shall provide or arrange for physician services, including emergencies once a patient elects hospice care.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(6).

Law Implemented: SDCL 34-12-13(6).

44:79:05:04.  Nursing policies and procedures. The hospice shall establish and maintain policies and procedures that provide the nursing staff with methods of meeting its administrative and technical responsibilities in providing care to patients. The policies shall include at least the following:

(1)  The noting of diagnostic and therapeutic orders;

(2)  Assigning the nursing care of patients;

(3)  Administration and control of medications;

(4)  Documentation by nursing personnel;

(5)  Infection control; and

(6)  Patient safety.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(7).

Law Implemented: SDCL 34-12-13(7).

CHAPTER 44:79:06

DIETETIC SERVICES

Section

44:79:06:01		Dietetic services.

44:79:06:02		Food substitutions.

44:79:06:03		Preparation of food.

44:79:06:04		Dietetic services.

44:79:06:05		Nutritional assessments.

44:79:06:06		Required dietary in-service training.

44:79:06:07		Dietary department.

44:79:06:01.  Dietetic services. The facility shall have an organized dietetic service that meets the nutritional needs of patients and ensures that food is stored, prepared, distributed, and served in a manner that is safe, wholesome, and sanitary in accordance with the provisions of § 44:79:02:04.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(8).

Law Implemented: SDCL 34-12-13(8).

44:79:06:02.  Food substitutions. The hospice shall offer reasonable substitutions of equal nutritional value to patients who refuse or are unable to eat the food served.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(8).

Law Implemented: SDCL 34-12-13(8).

44:79:06:03.  Preparation of food. Food shall be wholesome and prepared by methods that conserve nutritive value, flavor, and appearance and shall be attractively served at the temperature applicable to the particular food in a form to meet the individual patient's needs.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(8).

Law Implemented: SDCL 34-12-13(8).

44:79:06:04.  Dietetic services. A person who is responsible to the administrator shall direct the dietetic services. At least one person shall successfully complete and possess a current certificate from a ServSafe Food Protection Program offered by various retailers or the Certified Food Protection Professional's Sanitation Course offered by the Dietary Managers Association, or successfully completed equivalent training as determined by the department. Individuals seeking ServSafe recertification are only required to take the national examination. The person shall monitor the dietetic service to ensure that the nutritional and therapeutic dietary needs for each patient are met. A dietitian or nutritionist shall approve each menu, assess the nutritional status of each patient with problems identified in the assessment, and review and revise dietetic policies and procedures during scheduled visits.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(8).

Law Implemented: SDCL 34-12-13(8).

44:79:06:05.  Nutritional assessments. A dietitian, nutritionist, or registered nurse shall ensure a nutritional assessment is completed on each new patient upon admission; any patient having a significant change in diet, eating ability, or nutritional status; and monthly for any patient receiving tube feedings.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(8).

Law Implemented: SDCL 34-12-13(8).

44:79:06:06.  Required dietary in-service training. A dietitian, nutritionist, or registered nurse shall provide ongoing in-service training for all dietary and food-handling employees. Topics shall include: food safety, handwashing, food handling and preparation techniques, food-borne illnesses, serving and distribution procedures, leftover food handling policies, time and temperature controls for food preparation and service, nutrition and hydration, and sanitation requirements.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(8).

Law Implemented: SDCL 34-12-13(8).

44:79:06:07.  Dietary department. Construction, equipment, and installation of the dietary department shall comply with or exceed the minimum standards in §§ 44:02:07:01, 44:02:07:02, and 44:02:07:04 to 44:02:07:95, inclusive, the Food Service Code. The installation shall comply with § 44:79:10:10 unless a commercially prepared dietary service, meals, or disposables are used. If a commercial service is used, dietary areas and equipment shall meet the requirements for sanitary storage, processing, and handling.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Note: Article 44:02, Lodging and Food Service, Administrative Rules of South Dakota, contains the Food Service Code and may be obtained from Legislative Mail, 1320 East Sioux Avenue, Pierre, South Dakota 57501, telephone (605) 773-4935, for $4.14.

CHAPTER 44:79:07

MEDICATION CONTROL

Section

44:79:07:01		Policies and procedures.

44:79:07:02		Orders for medication required.

44:79:07:03		Medication therapy.

44:79:07:04		Storage and labeling of medications and drugs.

44:79:07:05		Control and accountability of medications and drugs.

44:79:07:06		Documentation of drug disposal.

44:79:07:07		Medication administration.

44:79:07:08		Medication records.

44:79:07:01.  Policies and procedures. Each hospice shall establish and practice methods and procedures for medication control that include the following:

(1)  A requirement that each patient's prescribing physician provide to the facility electronic or written signed orders for any medications taken by the patient; authorization for medications or drugs kept on the person or in the room of the patient; and release of medications;

(2)  Provisions for proper storage of prescribed medications so that the medications are inaccessible to patients or visitors with requirements for:

(a)  Separate storage of poisons, topical medications, and oral medications; and

(b)  A medication prescribed for one patient not to be administered to any other patient;

(3)  Self-administration of medications to be accomplished with the supervision of a designated employee of the facility to include:

(a)  A description of the responsibilities of the patient, the patient's family members, and the facility staff; and

(b)  The provision of written educational material explaining to the patient and the patient's family the patient's rights and responsibilities associated with self-administration; and

(4)  The proper disposition of medicines that are discontinued because of the discharge or death of the patient, because the drug is outdated, or because the prescription is no longer appropriate to the care of the patient.

Methods and written policies and procedures shall be established to include the manner of issuance, proper storage, control, accountability, and administration of medications or drugs in accordance with pharmaceutical and nursing practices as well as professional standards.

The facility and pharmacist shall establish a system of records of receipt and disposition for all controlled drugs in sufficient detail to enable an accurate reconciliation. The facility and pharmacist shall ensure the drug records are in order and that an account of all controlled drugs is maintained and periodically reconciled. The facility and pharmacist shall have policies and procedure for the periodic reconciliation of all controlled substances. The policies and procedure shall minimize the time between the actual loss or diversion and the time of detection and follow-up to determine the extent of the loss.

If a loss or diversion of controlled substances is identified the facility and pharmacist shall evaluate the patients potentially affected consistent with their comprehensive assessment and plan of care. If the systems have not been effective in preventing the loss or diversion of controlled substances, the facility and pharmacist shall review and revise related controls and procedures as necessary.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13.

Law Implemented: SDCL 34-12-13.

44:79:07:02.  Orders for medication required. All medications or drugs administered to patients shall be ordered electronically or in writing and signed by the prescriber. Verbal orders are for medications, treatments, or other patient care that are transmitted as oral, spoken communications between a sender and a receiver, delivered either face-to-face or via telephone. Verbal orders for medications or drugs may be taken only when there is an urgent need to initiate or change an order and accepted only by a pharmacist or licensed nurse.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

44:79:07:03.  Medication therapy. The pharmacist shall review the patient's diagnosis, the drug regimen, and any pertinent laboratory findings and dietary considerations. The pharmacist shall report potential drug therapy irregularities and make recommendations for improving the drug therapy of the patient to the attending physician and the administrator. A copy of the medication review shall be in the patient medical record.

The pharmaceutical service shall be under the supervision of a licensed pharmacist who provides consultation and oversees all aspects of the pharmaceutical services.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

44:79:07:04.  Storage and labeling of medications and drugs. All drugs or medications shall be stored in a well illuminated, locked storage area that is well ventilated, maintained at a temperature appropriate for drug storage, and inaccessible to patients or visitors at all times. Medications suitable for storage at room temperature shall be maintained between 59 and 86 degrees Fahrenheit (15 and 30 degrees centigrade). Medications that require refrigeration shall be maintained between 36 and 46 degrees Fahrenheit (two and eight degrees centigrade). Poisons and medications prescribed for external use shall be stored separately from internal medications, locked and made inaccessible to patients.

The medications or drugs of each patient for whom medications are facility-administered shall be stored in the containers in which they were originally received and may not be transferred to another container. Special modification of this requirement may be made if single dose packaging is used. Each prescription drug container, including manufacturer's complimentary samples, shall be labeled with the patient’s name, physician’s name, drug name and strength, directions for use, and prescription date.

Containers with contents that will not be used within 30 days of issue or with contents that expire in less than 30 days of issue shall bear an expiration date. If a single dose system is used, the drug name and strength, expiration date, and a control number shall be on the unit dose packet.

A facility may procure and stock nonlegend medications and administer them in accordance with written policies and procedures that provide for oversight by qualified personnel.

Any container with a worn, illegible, or missing label shall be destroyed pursuant to § 44:79:08:06. Licensed pharmacists are responsible for the labeling, relabeling, or altering of labels on medication containers.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

44:79:07:05.  Control and accountability of medications and drugs. Medications brought from home may be used if ordered by the attending physician and, if prior to administration, is identified as the prescribed drug. Patients may not keep medications on their person or in their room without a physician's order allowing self-administration. Written authorization by the patient's physician shall be secured for the release of any medication to a patient upon discharge, transfer, or temporary leave from the facility. The release of medication shall be documented in the patient's record, indicating quantity, drug name, and strength. The facility shall maintain records that account for all medications and drugs from their receipt through administration, destruction, or return.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

44:79:07:06.  Documentation of drug disposal. Legend drugs not controlled under SDCL chapter 34-20B shall be destroyed or disposed of by a nurse and another witness. Destruction or disposal of medications controlled under SDCL chapter 34-20B shall be witnessed by two persons, both of whom are a nurse or pharmacist, as designated by facility policy. Methods of destruction or disposal may include:

(1)  Disposal by using a professional waste hauler to take the medications to a permitted medical waste facility or by facility disposal at a permitted municipal solid waste landfill. Prior to disposal all medications shall be removed from original containers and made unpalatable by the addition of adulterants and alteration of solid dosage forms by dissolving or combination into a solid mass;

(2)  Return to the dispensing pharmacy for destruction or dispose according to federal and state regulations;

(3)  Return to an authorized reverse distributor company licensed by the South Dakota Board of Pharmacy; or

(4)  Release to patient upon discharge after authorization by the patient's prescribing practitioner.

Documentation of destruction or disposal of medications shall be included in the patient's record. The documentation shall include the method of disposition; the medication name, strength, prescription number, quantity, and date of disposition; and the name of any person who witnessed the destruction or disposal.

Medications, excluding those controlled under SDCL chapter 34-20B, contained in unit dose packaging meeting the requirements of § 20:51:13:02.01 may be returned to the dispensing pharmacy for credit and redispensing.

Any medication held for disposal shall be physically separated from the medications being used in the facility, locked with access limited, in an area with a system to reconcile, audit, or monitor them to prevent diversion.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

44:79:07:07.  Medication administration. Each medication administered shall be recorded in the patient's medical record and signed by the person responsible. Medication errors and drug reactions shall be reported to the patient's physician and an entry made in the patient's medical record. Orders involving abbreviations and chemical symbols may be carried out only if the facility has a standard list of abbreviations and symbols approved by the medical staff or, in the absence of an organized medical staff, by the medical director and the list is available to the nursing staff. All medications shall be administered to patients by personnel acting under delegation of a licensed nurse, or licensed to administer medications.

A person may not administer medications that have been prepared by another person, other than a pharmacist.

Medication administration shall comply with §§ 44:79:08:02 to 44:79:08:05, inclusive, and with the requirements for training in §§ 20:48:04.01:14 and 20:48:04.01:15 and for supervision in § 20:48:04.01:02. The licensed nurse shall provide an orientation and training to the unlicensed assistive personnel who will administer medications annually. The orientation shall be specific to the facility and relevant to the patients receiving administered medications.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

44:79:07:08.  Medication records. Medication administration records shall be used and regularly checked against the physician's orders. Each medication administered shall be recorded in the patient's medical record and signed by the individual responsible.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(9).

Law Implemented: SDCL 34-12-13(9).

CHAPTER 44:79:08

PATIENT RECORD SERVICES

Section

44:79:08:01		Medical record.

44:79:08:02		Written policies and confidentiality of records.

44:79:08:03		Record content.

44:79:08:04		Retention of medical records.

44:79:08:05		Storage of medical records.

44:79:08:06		Destruction of medical records.

44:79:08:07		Disposition of medical records on closure of facility or transfer of ownership.

44:79:08:01.  Medical record. There shall be an organized medical record system. A medical record shall be maintained for each patient admitted to the hospice.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

44:79:08:02.  Written policies and confidentiality of records. There shall be written policies and procedures to govern the administration and activities of the medical record service. They shall include policies and procedures pertaining to the confidentiality and safeguarding of medical records, the record content, continuity of a patient's medical records during subsequent admissions, requirements for completion of the record, and the entries to be made by various authorized personnel.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

44:79:08:03.  Record content. Each medical record shall show the condition of the patient from the time of admission until discharge and shall include the following:

(1)  Identification data;

(2)  Consent forms, except when unobtainable;

(3)  History of the patient;

(4)  A current overall plan of care;

(5)  Report of the initial and periodic physical examinations, evaluations, and all plans of care with subsequent changes;

(6)  Diagnostic and therapeutic orders;

(7)  Progress notes from all disciplines;

(8)  Laboratory and radiology reports;

(9)  Description of treatments, diet, and services provided and medications administered;

(10)  All indications of an illness or an injury and change in condition, including the date, the time, and the action taken regarding each;

(11)  Advanced directive;

(12)  Physicians orders;

(13)  Patients' rights;

(14)  A final diagnosis;

(15)  A discharge summary; and

(16)  Discharge instructions for home care when applicable.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

44:79:08:04.  Retention of medical records. A hospice shall retain medical records for a minimum of six years from the actual visit date of service or patient care. The retention of the record for six years is not affected by additional and future visit dates. The retention of the record for six years is not affected by additional and future visit dates.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

Cross-Reference: Storage of medical records, § 44:79:08:05.

44:79:08:05.  Storage of medical records. A hospice shall provide for filing, safe storage, and easy accessibility of medical records. The medical records shall be preserved as original records or in other readily retrievable and reproducible form. Medical records shall be protected against access by unauthorized individuals. All medical records shall be retained by the hospice upon change of ownership.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

Cross-Reference: Disposition of medical records on closure of facility or transfer of ownership, § 44:79:08:08.

44:79:08:06.  Destruction of medical records. After the minimum retention period of six years from the actual date of care outlined in § 44:79:09:04, the medical record may be destroyed at the discretion of the facility. Before the destruction of the medical record, the facility shall prepare and retain a patient index or abstract. The patient index or abstract shall include:

(1)  Name;

(2)  Medical record number;

(3)  Date of birth;

(4)  Summary of care dates;

(5)  Attending or admitting physician; and

(6)  Diagnosis or diagnosis code.

The facility shall destroy the medical record in a way that maintains confidentiality.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

44:79:08:07.  Disposition of medical records on closure of facility or transfer of ownership. If a hospice ceases operation, the facility shall provide for safe storage and prompt retrieval of medical records and the patient indexes specified in § 44:79:08:06. The hospice may arrange storage of medical records with another health care facility of the same licensure classification, transfer medical records to another health care provider at the request of the patient, relinquish medical records to the patient or the patient's parent or legal guardian, or arrange storage of remaining medical records with a third party vendor who undertakes such a storage activity. At least 30 days before closure, the hospice shall notify the department in writing indicating the provisions for the safe preservation of medical records and their location and publish in a local newspaper the location and disposition arrangements of the medical records.

If ownership of the hospice is transferred, the new owner shall maintain the medical records as if there was not a change in ownership.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(10).

Law Implemented: SDCL 34-12-13(10).

Cross-Reference: Storage of medical records, § 44:79:08:05.

CHAPTER 44:79:09

PATIENTS' AND FAMILIES RIGHTS

Section

44:79:09:01		Patients' rights policies.

44:79:09:02		Facility to inform patient of rights.

44:79:09:03		Facility to provide information on available services.

44:79:09:04		Notification when patient's condition changes.

44:79:09:05		Choice in planning care.

44:79:09:06		Privacy and confidentiality.

44:79:09:07		Availability of survey results.

44:79:09:08		Admission, transfer, and discharge policies.

44:79:09:01.  Patients' rights policies. Each facility shall establish policies consistent with this chapter to protect and promote the rights of each patient.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

44:79:09:02.  Facility to inform patient of rights. Prior to or at the time of admission, a facility shall inform the patient, both orally and in writing, of the patient's rights and of the rules governing the patient's conduct and responsibilities while in the facility. The patient shall acknowledge in writing that the patient received the information. During the patient's stay the facility shall notify the patient, both orally and in writing, of any changes to the original information. A patient has the right to receive visitors. Visitors may not cause a disruption to the care and services residents receive or infringement on other residents' rights or place an undue burden on the facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

44:79:09:03.  Facility to provide information on available services. A facility shall provide the following information in writing to each patient:

(1)  A list of services available in the facility and the charges for such services. The facility shall specify which items and services are included in the services for which the patient may not be charged, those other items and services that the facility offers and for which the patient may be charged, and the amount of any such charges;

(2)  A description of how a patient may protect personal funds;

(3)  A list of names, addresses, and telephone numbers of client advocates;

(4)  A description of how to file a complaint with the department concerning abuse, neglect, and misappropriation of patient property;

(5)  A description of how the patient can contact the patient's physician, including the name and specialty of the physician;

(6)  A description of how to apply for and use Medicare and Medicaid benefits, and the right to establish eligibility for Medicaid, including the addresses and telephone numbers of the nearest office of the South Dakota Department of Social Services and of the United States Social Security Administration;

(7)  A description of readmission rights of the patient; and

(8)  A description explaining the responsibilities of the patient and family members regarding self-administered medication.

A signed and dated admission agreement between the patient or the patient's legal representative and the facility shall include subdivisions (1) to (8), inclusive, of this section. The patient or patient's legal representative and the facility shall complete the admission agreement before or at the time of admission and before the patient has made a commitment for payment for proposed or actual care.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

44:79:09:04.  Notification when patient's condition changes. A facility shall immediately inform the patient, consult with the patient's physician and, if known, notify the patient's legal representative or interested family member when any of the following occurs:

(1)  An accident involving the patient that results in injury or has the potential for requiring intervention by a physician;

(2)  A significant change in the patient's physical, mental, or psychosocial status;

(3)  A need to alter treatment significantly; or

(4)  A decision to transfer or discharge the patient from the facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

44:79:09:05.  Choice in planning care. A patient may choose a personal attending physician, be fully informed in advance about care and treatment and of any changes in that care or treatment that may affect the patient's well-being, and, unless adjudged incompetent or otherwise found to be incapacitated under the laws of the state, participate in planning care and treatment or changes in care or treatment.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

Cross-References: Right to choose own physician unimpaired by public health programs -- Misdemeanor, SDCL 34-1-20.

Rights of authorized person as incapacitated person, SDCL 34-12C-6.

Liability of health care provider -- Liability of authorized decision maker, SDCL 34-12C-7.

44:79:09:06.  Privacy and confidentiality. A facility shall provide for privacy and confidentiality for the patient, including the patient's accommodations, medical treatment, written and telephone communications, personal care, visits, and meetings of family and patient groups. A facility shall permit patients to perform the following:

(1)  To send and receive unopened mail and to have access to stationery, postage, and writing implements at the patient's own expense;

(2)  Use a telephone without being overheard;

(3)  To visit a spouse or, if both are patients of the same facility, to share a room with the spouse, within the capacity of the facility, upon the consent of both spouses;

(4)  Except in an emergency, to have room doors closed and to require knocking before entering the patient's room;

(5)  To have only authorized staff present during treatment or activities of personal hygiene;

(6)  To retire and rise according to the patient's wishes, as long as the patient does not disturb other patients;

(7)  To meet, associate, and communicate with any person of the patient's choice in a private place within the facility; and

(8)  To approve or refuse the release of personal and medical records to any individual outside the facility, except if the patient is transferred to another health care facility or if the release of the record is required by law. With the patient's permission, a facility shall allow the state ombudsman or a representative of the ombudsman access to the patient's medical records.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

Cross-Reference: Written policies and confidentiality of records, § 44:79:08:03.

44:79:09:07.  Availability of survey results. Survey results, along with the corresponding Plan of Correction shall be provided to residents and individuals upon request.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

44:79:09:08.  Admission, transfer, and discharge policies. A facility shall establish and maintain policies and practices for admission, discharge, and transfer of patients that prohibit discrimination based upon payment source. The facility shall notify each patient at or before the time of admission of these policies and procedures. The policies and practices shall include the following provisions:

(1)  The patient may remain in the facility and may not be transferred or discharged unless the patient's needs and welfare cannot be met by the facility, the patient's health has improved sufficiently so the patient no longer needs the services provided by the facility, the safety or health of persons in the facility is endangered by the patient, the patient has failed to pay for allowable billed services as agreed to, or the facility ceases to operate;

(2)  The facility shall notify the patient and a family member or client advocate in writing before the transfer or discharge unless a change in the patient's health requires immediate transfer or discharge. The written notice shall specify the reason for and effective date of the transfer or discharge and the location to which the patient will be transferred or discharged;

(3)  The conditions under which the patient may request or refuse transfer within the facility; and

(4)  A description of how the patient may appeal a decision by the facility to transfer or discharge the patient.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(14).

Law Implemented: SDCL 34-12-13(14).

CHAPTER 44:79:10

CONSTRUCTION STANDARDS

Section

44:79:10:01		Application of chapter.

44:79:10:02		Administrative space.

44:79:10:03		Medical records storage.

44:79:10:04		Storage rooms.

44:79:10:05		Patient dining and lounge area.

44:79:10:06		Patient rooms.

44:79:10:07		Family room.

44:79:10:08		Service area in care units.

44:79:10:09		Food preparation services and equipment.

44:79:10:10		Laundry.

44:79:10:11		Engineering service and equipment areas.

44:79:10:12		Corridor restrictions.

44:79:10:13		Doors.

44:79:10:14		Floor surface finish.

44:79:10:15		Wall and ceiling finish.

44:79:10:16		Ventilating systems.

44:79:10:17		Plumbing fixtures.

44:79:10:18		Water supply systems.

44:79:10:19		Vacuum breakers.

44:79:10:20		Hot water systems.

44:79:10:21		Drainage systems.

44:79:10:22		Piping requirements.

44:79:10:23		Electrical distribution system.

44:79:10:24		Lighting.

44:79:10:25		Emergency electrical service.

44:79:10:26		Staff call system.

44:79:10:27		Submittal of plans and specifications.

44:79:10:01.  Application of chapter. The provisions of this chapter apply to any new facility and to any renovation, addition, or change in space use of currently approved existing facility. Accessible and usable accommodations shall be available to the public, staff, and patients with disabilities.

Each facility shall comply with NFPA 101 Life Safety Code, 2012 edition.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-1-17(4), (5), and 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Reference: NFPA 101 Life Safety Code, 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, MA 02269-9101. Phone: 1-800-344-3555. Cost: $93.00.

44:79:10:02.  Administrative space. The administrative area shall consist of an office, lobby, and public and staff toilet rooms.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL  34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:03.  Medical records storage. The medical records shall include active and closed record storage and a work area.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:04.  Storage rooms. There shall be at least 10 square feet (0.929 square meters) of central storage provided for each bed. General storage shall be concentrated in one area in the facility, but up to 50 percent of the general storage space may be provided on the premises.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:05.  Patient dining and lounge area. The total areas set aside for patient dining, lounge, and other central use areas may not be less than 40 square feet (4.18 square meters) for each bed.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:06.  Patient rooms. A patient room shall meet the following requirements:

(1)  A maximum room capacity is one patient;

(2)  A minimum area, exclusive of toilet rooms, closets, lockers, wardrobes, or vestibules, of 150 square feet (13.98 square meters) in each bedroom. Any sleeping room designed as part of a suite of rooms shall have a minimum area of 120 square feet (11.15 square meters). The minimum dimension in sleeping rooms may not be less than nine feet six inches (2.90 meters);

(3)  A window sill not higher than three feet (0.91 meters) above the floor. The floor shall be above grade;

(4)  A toilet room shall be attached to the patient room. The toilet room shall include a water closet with bedpan washer, handsink, mirror, soap dispenser, towel dispenser, and private individual storage. All new construction of toilet rooms shall be wheelchair accessible;

(5)  A handsink shall be provided in the room equipped with a soap dispenser and paper towel dispenser; and

(6)  A separate closet space or wardrobe of five square feet (.46 meters).

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:07.  Family room. An attached living space for the patient's family shall be 150 square feet (13.94 meters) and shall be equipped with comfortable seating and sleeping accommodations.  Provisions shall be made for patient privacy at the adjoining family room.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:08.  Service area in care units. Each care unit shall contain following:

(1)  Staff station work area with handwashing fixture, charting space, communication and security equipment, supply storage, and locked medication storage, including refrigerated storage and dispensing area;

(2)  Staff toilet room convenient to work area. The toilet room shall be accessible and shall contain a handwashing fixture with mirror, soap and towel dispenser, and toilet with at least a side grab bar and toilet paper dispenser;

(3)  Clean linen storage or linen cart storage room;

(4)  Housekeeping room for supply and equipment storage. A floor receptor or service sink shall be provided and the adjacent wall surfaces shall be impervious to protect from water damage. The space could be arranged as part of a soiled utility room;

(5)  Bathing room for each thirty patients with whirlpool bath fixture equipped with a patient lift for patient and staff safety;

(6)  Clean workroom for the storage and assembly of supplies for nursing procedures which contains a work counter and sink;

(7)  Soiled workroom with a work counter and handwashing facility, a waste receptacle, soiled linen receptacles, a clinical sink with an exposed water trap seal, siphon jet or blowout action, and a bedpan flushing device;

(8)  Nourishment station containing food storage space, refrigerated storage, microwave, self-dispensing ice machine, and a sink;

(9)  Equipment storage room for patient care equipment; and

(10)  Multipurpose rooms for staff, patients, and patients' families for conferences, reports, education, training sessions, and consultation.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:09.  Food preparation services and equipment. The dietary area shall be completely cleanable by conventional methods. The location and design of the dietary area shall enable convenient handling of incoming supplies, preparation of meals, including tray service, and disposal of rubbish and garbage. Equipment and space provided shall include the following:

(1)  A dishwasher with a sanitizing cycle. In dietary areas serving 17 beds or more, a dishwashing area including a commercial dishwasher supplied with 180 degree Fahrenheit (82 degrees centigrade) rinse water or a chemical sanitizing cycle, work space, a garbage disposal, a garbage can, a clean dish table, and handwashing facilities;

(2)  A dry food storage area with adequate shelving and a functional aisle;

(3)  Refrigerated and freezer storage space with sufficient refrigerated storage space located within the food production area for convenient food preparation;

(4)  Aisles not less than three feet (0.91 meters) width;

(5)  Pot and pan washing facilities, including a three-compartment sink with 18 inch drainboards on both sides and drying and storage facilities for pots and pans;

(6)  A vegetable preparation area with a two-compartment sink with a garbage disposal;

(7)  Dietary manager work space with desk and chair;

(8)  Janitor's closet with storage for housekeeping supplies and floor receptor or service sink with moisture resistant protection for the adjacent wall surfaces;

(9)  Food production equipment designed to prepare a complete meal for the total bed complement and for personnel, guests, or other catering services;

(10)  Food holding and transportation equipment capable of protecting food from contamination and of maintaining cold or hot food temperatures during the total serving period;

(11)  Ventilation equipment sized and designed to effectively remove steam, heat, cooking vapors, and grease from food production areas, dishwashing  areas, and serving areas;

(12)  Handwashing facilities that are convenient to each work area, consisting of hot and cold running water, towel dispenser with single-service towels or hand drying device and wall mounted hand cleanser; and

(13)  An ice maker with bin or self-dispensing ice maker. A built-in dispensing ice maker in a refrigerator may be used in any facility or patient neighborhood with a capacity of less than 17 beds. Any ice maker accessible to patients or visitors shall be self-dispensing.

The facility may request in writing modifications to § 44:79:10:09. There shall be appliances that allow for the storing, refrigeration, preparation, cooking, and disposal of food products based on the facilities food service plan.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (2), and (14).

Law Implemented: SDCL 34-12-13(1), (2), and (14).

44:79:10:10.  Laundry. Equipment for processing an individual patient's personal clothing shall be provided. All common use linens and combined patients' personal clothing must be processed for disinfecting. The laundry shall contain an area for soiled linen holding with adequate storage capacity to be used for storage, sorting, and weighing of soiled linen, cart storage, janitor's closet with storage for housekeeping supplies and equipment and a floor receptor or service sink convenient to the laundry, storage for laundry supplies, and a lavatory conveniently accessible to soiled, clean, and processing rooms;

The space and equipment layout shall be sized and designed to produce quality linen with a work flow that minimizes potential for cross-contamination of clean linen by soiled linen, contaminated equipment, contaminated air, or splash. The facility may request in writing modifications to § 44:79:10.10.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

44:79:10:11.  Engineering service and equipment areas. The requirements for engineering service and equipment areas for each facility shall include an area for maintenance supplies and a yard equipment storage room or exterior building.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:10:12.  Corridor restrictions. Drinking fountains, fire extinguisher cabinets, and vending machines shall be located so they do not project into the required width of exit corridors. Handrails shall be installed with top 34 to 38 inches above the floor on both sides of the corridor and return to the wall at the ends. Handrails shall be installed with one and one half inch spacing between the wall and the handrail.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:10:13.  Doors. Any door to a patient room toilet or bathroom shall be equipped with hardware which will permit access in any emergency. A pocket or sliding door may not be installed except on a clothes closet or restroom in a patient room. Any hardware on a restroom pocket or sliding door shall provide for ease of operation for a patient with limited mobility. Any door opening onto a corridor, except an elevator door, shall be hinged on the side. An alcove or similar space which generally does not require doors are excluded from this requirement. No door may swing into the corridor except a closet door. Any cross-corridor door shall be provided with vision panels.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:10:14.  Floor surface finish. Floors shall be easily cleanable and shall have the wear resistance appropriate for the location involved. Floors in kitchens and related spaces shall be water-resistant. All areas where floors are subject to wetting shall have a nonslip finish. A walking surface that is not flush with an adjacent surface shall be provided with a transition. A change in level up to one eighth inch may be vertical and without edge treatment. Changes in level between 1one eighth inch and one half inch are to be beveled with a slope no greater than 1:2. A change in level may not exceed one half inch. Gaps in the walking surface may not exceed one half inch wide in the direction of travel.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:10:15.  Wall and ceiling finish. Walls shall be washable, and in the immediate area of plumbing fixtures the finish shall be protected from water damage. Wall bases in dietary areas shall be free of spaces that can harbor insects. All dietary ceilings shall be washable or easily cleanable.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:10:16.  Ventilating systems. The ventilating systems shall maintain temperatures total air changes as follows:

(1)  For all other occupied areas, the facility shall be able to maintain a minimum temperature of 75 degrees Fahrenheit (23.9 degrees centigrade) at winter design conditions with a minimum of at least two total air changes an hour. All air supply and air exhaust systems shall be mechanically operated. All fans serving exhaust systems shall be located at the discharge end of the system. Each mechanical ventilation systems shall be designed and balanced to provide make-up air and safe pressure relationships between adjacent areas to preclude the spread of infections and assure the health of the occupants. A corridor may not be used to supply air to or exhaust air from any room, except that exhaust air from corridors may be used to ventilate bathrooms, toilet rooms, or janitor's closets opening directly on corridors. Continuous mechanical exhaust ventilation shall be provided in all soiled areas, wet areas, and storage rooms. In unoccupied service areas, ventilation may be reduced or discontinued when the health and comfort of the occupants are not compromised.

(2)  Each cooking appliances, other than microwave ovens, shall be provided with exhaust ventilation to the exterior of the building to remove cooking odors, heat, and moisture.

(3)  Each vehicle parking garage shall be provided with carbon monoxide detection to activate exhaust ventilation of six air changes each hour or to open the garage door if the area of the garage is under 1000 square feet. A sign shall be posted at the front of each parking space advising the driver to shut off the engine.

(4)  Each crawl space shall be provided with mechanical ventilation at least 0.5 air changes each day or be provided with open perimeter venting as required by the International Building Code.

A ventilation system using a recirculated central air system shall be equipped with a minimum of two filter beds. Filter bed number one shall be located upstream of the conditioning equipment and shall have a minimum efficiency of 30 percent. Each supply air unit shall have a minimum of 30 percent effective filters. These filter efficiencies shall be warranted by the manufacturer and shall be based on the ASHRAE 52.2, 2007 edition, American Society of Heating, Refrigeration, and Air Conditioning Engineers dust spot test method with atmospheric dust. Each filter frame shall be durable and carefully dimensioned and shall provide an airtight fit with the enclosing duct work. Each joint between filter segments and the enclosing duct work shall contain a gasket or sealed to provide a positive seal against air leakage.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (3), and (4).

Law Implemented: SDCL 34-12-13(1), (3), and (4).

Reference: ASHRAE 52.(2), 2007 edition, American Society of Heating, Refrigeration, and Air Conditioning Engineers. Copies may be obtained from 1791 Tullie Circle, N.E., Atlanta, GA 30329. Phone: 1-800-527-4723. Cost: $39.

44:79:10:17.  Plumbing fixtures. The material used for plumbing fixtures shall be of nonabsorptive acid-resistant material. Each lavatory and sink required in patient care areas shall have the water supply spout mounted so that the discharge is a minimum of five inches (0.13 meters) above the rim of the fixture. Handwashing facilities shall be equipped with hands-free controls. A single lever device may be used. Each clinical sink shall have an integral trap in which the upper portion of a visible trap seal provides a water surface. If blade handles are used, proper clearance shall be maintained for operation. An aerator is not approved for use on faucet spouts. A paper towel dispenser or hand-drying device shall be provided at each lavatory or sink. A mirror or paper towel dispenser with reflective surface may not be provided at a handwashing facility in the clean utility or dietary where grooming could potentially cause contamination.

Each water closet shall be an elongated bowl type and be equipped with an open front seat.

Any shower stall that is not required to be wheelchair transfer or standard roll-in type shall have curb heights not more than six inches above the finished floor. The shower floor elevation and bathroom finished floor elevation shall be level where possible but the difference in elevation cannot exceed three inches.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

44:79:10:18.  Water supply systems. Each water supply systems shall supply water to the fixtures and equipment on the upper floors at a minimum pressure of 15 pounds a square inch (1055.9 kilograms a square meter) during maximum demand periods. Each water service main, branch main, riser, and branch to a group of fixtures shall be valved. Stop valves shall be provided at each fixture. Hot, cold, and chilled water piping and waste piping on which condensation may occur shall be insulated. Insulation of cold and chilled water lines shall include an exterior vapor barrier.

Water supply systems in a health care facility must maintain one part per million free residual chlorine at remote point-of-use fixtures in the facility or may use another bacteriological control method (increasing water temperature range from 122 degrees to 125 degrees Fahrenheit [50-52 degrees centigrade] is acceptable) that has been demonstrated to be equivalent in control of Legionella. The facility must document water temperatures to verify the hot water temperature is being maintained within the acceptable range The chlorine testing must be done daily using photocell and light source DPD (N, N, Diethyl-p-phenylenediamine) test kits and the test results logged. When testing demonstrates that consistent chlorine levels are maintained, the frequency of testing may be reduced to a level necessary to demonstrate compliance.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (4), and (14).

Law Implemented: SDCL 34-12-13(1), (4), and (14).

44:79:10:19.  Vacuum breakers. An antisiphon device or backflow preventer shall be installed on any hose bib and on any fixture to which hoses or tubing can be attached such as  janitor sink, bedpan flushing attachment, and handheld shower. An antisiphon device or backflow preventer shall be installed on all plumbing and equipment where any possibility exists for contamination of the potable water supply.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (4), and (14).

Law Implemented: SDCL 34-12-13(1), (4), and (14).

44:79:10:20.  Hot water systems. The facility shall install a recirculating system to provide hot water to all fixtures. The hot water heating equipment shall have sufficient capacity to supply water at the temperature and amounts to meet the needs of the facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (4), and (14).

Law Implemented: SDCL 34-12-13(1), (4), and (14).

44:79:10:21.  Drainage systems. Any piping over a food preparation center, food serving facility, food storage area, and any other critical area shall be kept to a minimum and may not be exposed. Special precautions shall be taken to protect these areas from possible leakage of necessary overhead piping systems. The building sewer shall discharge into a community sewerage system. If such a system is not available, a facility providing sewage treatment which conforms to applicable local and state regulations is required.

Water from roof systems shall be collected and discharged away from the building foundation. Rain gutters with downspouts and splash blocks shall be provided for pitched roof systems. Provisions shall be made to avoid having water accumulated on sidewalks and parking areas around the building.

The building sewer system shall have a cleanout located outside the perimeter of the building foundation.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (4), and (14).

Law Implemented: SDCL 34-12-13(1), (4), and (14).

Cross-Reference: Individual and small on-site wastewater systems, ch 74:53:01.

44:79:10:22.  Pipe requirements. Before placing potable water systems in service, the piping system shall be disinfected in accordance with the South Dakota Plumbing Commission standards in article 20:54 and certification shall be available from the installer showing the method used, date, test procedure used to verify chlorine concentrations, and date the system was flushed and placed in service.

Pipe covering, vapor barriers, and adhesives used for applying them shall have a flame spread of not more than 25 and a smoke emission factor of not more than 50 when tested in accordance with the NFPA 101 Life Safety Code, 2012 edition.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).

Reference: NFPA 101 Life Safety Code, 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, Massachusetts 02269-9101. Phone: 1-800-344-3555. Cost: $93.00.

44:79:10:23.  Electrical distribution system. All material including equipment, conductors, controls, and signaling devices shall be installed to provide a complete electrical system with the necessary characteristics and capacity to supply the electrical facilities shown in the specifications or indicated on the plans. All materials shall be listed as complying with applicable standards of Underwriters' Laboratories, Inc., or other similarly established standards. Each circuit breaker or fusible switch that provides disconnecting means and overcurrent protection for a conductor connected to switchboard and distribution panel board shall be enclosed or guarded to provide a dead front type of assembly. The main switchboard shall be located in a separate enclosure accessible to authorized persons. Each lighting and appliance panel board shall be provided for the circuit on each floor. The provisions of this section do not apply to emergency system circuits.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1), (3), and (4).

Law Implemented: SDCL 34-12-13(1), (3), and (4).

44:79:10:24.  Lighting. Each patient bedroom shall have general lighting of at least ten footcandles (0.929 lumens per square meter) and night lighting. If task illumination is required, a light with an intensity of at least 30 footcandles (2.79 lumens per square meter) at the work surface shall be provided. At least one luminaire for night lighting shall be switched at the entrance to each patient room. Illumination of at least 100 footcandles (9.29 lumens per square meter) shall be provided at the medication set-up area. Illumination of at least 30 footcandles (2.79 lumens per square meter) shall be provided in each dining area and at any bathing facility.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3), (4) and (14).

Law Implemented: SDCL 34-12-13(3), (4) and (14).

44:79:10:25.  Emergency electrical service. Each facility shall have a Type 2, Essential Electrical System in accordance with the National Fire Protection Association (NFPA 99 Health Care Facilities Code, 2012 Edition). Automatic emergency lighting shall also be provided at staff work station, medication room, room where main electrical panel is located, and boiler room. Emergency electrical service shall be provided from an automatic generator set and automatic transfer switches serving emergency panels.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Reference: NFPA 99 Health Care Facilities Code, 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, MA 02269-9101. Phone: 1-800-344-3555. Cost: $66.50.

44:79:10:26.  Staff call system. A staff call system shall be provided for patient use to summon assistance from staff. The system shall be capable of being easily activated by the patient and shall register both visually and audibly at the staff station. In multicorridor nursing units, additional visible signals shall be installed at corridor intersections. The system shall be utilized and maintained in such a manner as to ensure that it is a consistent and effective means for a patient to alert staff of the need for assistance. The call stations convenient for patient use shall be provided at each bed, patient toilet, bathing or shower facility used by the patient. Staff call systems which provide two-way voice communication shall be equipped with an indicating light at each calling station which lights and remains lighted as long as the voice circuit is operating. The call system shall also meet at least one of the following requirements:

(a)  The call system utilizes fixed call stations that are convenient for patient use and activated by a pull cord or other approved device. The fixed system shall actuate a visual signal at the patient room door, and in the clean workroom, soiled workroom, and nourishment station of the nursing unit. In multicorridor nursing units, additional visible signals shall be installed at corridor intersections;

(b)  The call system utilizes wireless devices that are convenient for patient use and activated by a pull cord or other approved device. The wireless system shall actuate a visual and audible signal at the staff station and on pocket paging devices carried by all direct care staff. Wireless devices shall be fully supervised, shall be capable of alarm reset at the source, and transmit low battery alert. Wireless devices shall utilize batteries that are readily available; or

(c)  Another type of call system that has been submitted for review and approved by the department.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(4) and (14).

Law Implemented: SDCL 34-12-13(4) and (14).

44:79:10:27.  Submittal of plans and specifications. Plans and specifications for new construction shall be submitted to the department for evaluation of function and fire protection. The department's approval shall be obtained before beginning construction. Modification during construction shall be submitted to the department for review and shall be approved prior to the modification. A written narrative describing the intended use of the proposed construction shall accompany the plans and specifications.

Source: 42 SDR 51, effective October 13, 2015.

General Authority: SDCL 34-12-13(1) and (3).

Law Implemented: SDCL 34-12-13(1) and (3).