44:82:02:05.  Water supply. The community living home's water supply shall be obtained from a public water system or, in its absence, from a supply approved by the Department of Agriculture and Natural Resources. Any private water supply shall have a water sample bacteriologically tested at least annually and the testing results shall be provided to the department at the time the test results are available. The volume of water shall be sufficient for the needs of the community living home. The hot water system shall be capable of supplying the work and resident areas with water at the required temperatures. Maximum hot water temperatures at plumbing fixtures used by residents may not exceed 125 degrees Fahrenheit (52 degrees centigrade). The minimum temperature of hot water for resident use shall be at least 100 degrees Fahrenheit (38 degrees centigrade).

Source: 44 SDR 66, effective October 17, 2017; SL 2021, ch 1, §§ 8, 19, effective April 19, 2021.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).