44:82:03:01.  General fire safety. Each community living home shall meet the applicable fire safety standards of One- and Two- Family Dwellings in the Life Safety Code in NFPA 101 Life Safety Code, 2012 edition. Each community living home shall be constructed, arranged, equipped, maintained, and operated to avoid undue danger to the lives and safety of its occupants from fire, smoke, fumes, or resulting panic during the period of time reasonably necessary for escape from the structure in case of fire or other emergency. Compliance with this section does not eliminate or reduce the necessity for other provisions for safety of persons using the structure

under normal occupancy conditions.

Source: 44 SDR 66, effective October 17, 2017.

General Authority: SDCL 34-12-13(3).

Law Implemented: SDCL 34-12-13(3).

Reference: NFPA 101 Life Safety Code, 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, P.O. Box 9101, Quincy, Massachusetts 02269-9101. Phone: 1-800-344-3555. Cost: $101.00.