20:42:05:07.  Microdermabrasion machines. For any microdermabrasion machine:

(1)  Any crystals used in a microdermabrasion machine may not be recycled or reused. Crystals or approved corundum are for single-use purposes only;

(2)  Tips must be cleaned and disinfected after each client and disposed of if any wear is shown; and

(3)  The exterior must be kept clean of crystal dust, and the filters changed as necessary.

Source: 46 SDR 46, effective October 3, 2019.

General Authority: SDCL 36-15-13(5)(13).

Law Implemented: SDCL 36-15-13(5).