67:63:04:02.  Life safety codes. For each setting in which an appropriate regional facility provides services, the facility shall comply with the applicable life safety codes described in § 67:62:09:02.

An automatic sprinkler system is not required in an existing facility unless significant renovations occur or remodeling occurs. An existing automatic sprinkler system must remain in service.

New construction, renovations, additions, and changes of space must comply with the applicable life safety codes described in § 67:62:09:02. Each facility shall also comply with the building construction standards described in § 67:62:09:02.

Source: 47 SDR 58, effective December 2, 2020.

General Authority: SDCL 27A-10-1.2.

Law Implemented: SDCL 27A-10-1.2.

Cross Reference: Life safety codes, § 67:62:09:02.