44:90:04:10.  Alarm system. A medical cannabis establishment shall maintain an alarm system:

(1)  With monitored sensors on all exterior doors, windows, and gates;

(2)  Monitored by a security company capable of contacting the establishment and, if necessary, law enforcement;

(3)  That has an audible alarm capable of being disabled remotely by the security company; and

(4)  That alerts the security company during a power failure and operates for a minimum of four hours on backup power.

Source: 48 SDR 40, effective October 5, 2021.

General Authority: SDCL 34-20G-72(5)(c).

Law Implemented: SDCL 34-20G-64, 34-20G-72(5).