44:90:05:03.  Cultivation equipment -- Safety. All electrical equipment in a cultivation facility must be listed by a nationally recognized testing laboratory.

Source: 48 SDR 40, effective October 5, 2021.

General Authority: SDCL 34-20G-72(5)(e).

Law Implemented: SDCL 34-20G-72(5).