44:90:06:04.  Field audits. Field audits must be conducted at least quarterly by the cannabis testing facility’s quality assurance staff to verify that samples are being collected in accordance with the cannabis testing facility’s standard operating procedures as follows:

(1)  Reviewing sampling records from the previous quarter and previous year for signs of irregularities;

(2)  Observing the collection of samples by each person authorized to collect samples;

(3)  Collecting verification samples for comparison of results to samples collected by each person authorized to collect samples;

(4)  Recording any deficiencies identified;

(5)  Informing any affected cannabis cultivation facility or cannabis product manufacturing facility that past results may have been affected by any deficiencies uncovered; and

(6)  Instituting corrective action.

Source: 48 SDR 40, effective October 5, 2021.

General Authority: SDCL 34-20G-72(5)(k).

Law Implemented: SDCL 34-20G-72(5).