61:33:01:05.  Authorized burn barrels. Burn barrels must be:

(1)  Constructed of metal, with all draft holes screened with heavy-duty one-fourth or less woven wire screening. The top grate must be of the same screening material or a welded construction that will not allow either flying ash or burning paper to leave the burn barrel during combustion;

(2)  Located at least thirty feet away from any structure and sited on bare mineral soil, gravel, or concrete;

(3)  Cleared of vegetation in a six-foot radius around the burn barrel; and

(4)  Staked and secured to prevent overturning.

Source: 50 SDR 47, effective October 16, 2023.

General Authority: SDCL 34-35-19

Law Implemented: SDCL 34-35-16, 34-35-17.