## CHAPTER 20:10:33

SERVICE STANDARDS FOR TELECOMMUNICATIONS COMPANIES

Section

20:10:33:01		Definitions.

20:10:33:02		Level of service provided by local exchange companies.

20:10:33:03		Level of service applicable to all subscribers within an exchange.

20:10:33:04		Minimum requirements for new or replaced switching systems.

20:10:33:05		Minimum requirements for channel capacity.

20:10:33:06		Minimum levels of trunking facilities provided by interexchange companies.

20:10:33:07		Requirements for good engineering practices.

20:10:33:08		Requirement for sufficient equipment and adequate personnel.

20:10:33:09		Required documentation to show sufficient equipment and adequate personnel.

20:10:33:10		Assignment of facilities.

20:10:33:11		Charges for construction of facilities.

20:10:33:12		Records of tests and inspections.

20:10:33:13		Provisioning of adequate and reliable facilities.

20:10:33:14		Program required for testing, inspecting, and maintenance.

20:10:33:15		Repair of plant and equipment.

20:10:33:16		Leakage, loop resistance, and transmission tests.

20:10:33:17		Emergency planning.

20:10:33:18		Plan required to deal with loss of switch.

20:10:33:19		Auxiliary and battery power requirements.

20:10:33:20		Central office alarms.

20:10:33:21		Prevention of access line service interruptions -- Reestablishment of service -- Priority given to customers with medical condition and certain entities.

20:10:33:22		Maintenance service interruptions -- Notification.

20:10:33:23		Records of access line service interruptions.

20:10:33:24		Reporting of trouble reports.

20:10:33:25		Customer trouble reports.

20:10:33:26		Record of trouble reports.

20:10:33:27		Reporting requirements when 911 service is disrupted or impaired.

20:10:33:28		Reporting of service disruption or impairment.

20:10:33:29		Standards applicable under normal operating conditions.

20:10:33:30		Petition for waiver -- Granting of waiver.

20:10:33:31		Failure to pay for services other than local exchange services not grounds to terminate local exchange service.

20:10:33:32		Exemption from providing local exchange service when toll services terminated.