**20:43:09:13.  Equipment -- Moderate sedation.** Any dentist who administers moderate sedation or who provides dental services to patients under moderate sedation shall ensure that the office or facility in which the work is performed:

 (1)  Has an operatory of the appropriate size and design to permit access of emergency equipment and personnel and to permit appropriate emergency management;

 (2)  Has the following equipment:

 (A)  An automated external defibrillator or full function defibrillator that is immediately accessible;

 (B)  A positive pressure oxygen delivery system and a backup system;

 (C)  A functional suctioning device and a backup suction device;

 (D)  Auxiliary lighting;

 (E)  A gas storage facility;

 (F)  A recovery area. Recovery may take place in the surgical suite. If a separate recovery area is utilized, it must be of the appropriate size for emergency access and management and must have resuscitative equipment present;

 (G)  Methods to monitor respiratory and cardiac function, including all of the following:

 (1)   Pulse oximetry; and

 (2)  Electrocardiogram display;

 (3)  Precordial stethoscope;

 (4)  Measurement of EtCO2, capnography; and

 (5)  Blood pressure monitor; and

 (H)  Board approved and readily available emergency drugs and appropriately sized equipment necessary to resuscitate a non-breathing and unconscious patient and provide continuous support while the patient is transported to a medical facility. The permit holder shall provide documentation that all emergency drugs and equipment are inspected and maintained on a prudent and regularly scheduled basis, according to manufacturer specifications where applicable.

 **Source:** 37 SDR 131, effective January 6, 2011; 41 SDR 108, effective January 6, 2015; 48 SDR 62, effective December 13, 2021.

 **General Authority:** SDCL 36-6A-14(20).

 **Law Implemented:** SDCL 36-6A-14(1)(3)(13)(14)(22).