**74:53:01:13.  Wastewater not to be discharged into unused wells, gravel pits, or rock formations.** Wastewater, treated or untreated, shall not be discharged into any abandoned or unused well, nor shall it be discharged into any crevice, sinkhole, gravel pit, or naturally fissured rock formation, such as limestone.

**Source:** 12 SDR 2, effective July 18, 1985; 13 SDR 129, 13 SDR 141, effective July 1, 1987; transferred from § 74:03:01:50, July 1, 1996.

**General Authority:** SDCL 34A-2-93.

**Law Implemented:** SDCL 34A-2-21.