**74:53:01:41.  Disposal of septage.** The disposal of septage shall be handled in the following manner:

(1)  Requirements for the use or disposal of septage are those in 40 C.F.R. Part 503 (October 25, 1995); and

(2)  Final disposal of contents may be made into a public system if specific permission has been obtained for the disposal from local governmental officials and the public system has the equipment and facilities to provide at least secondary treatment to the contents.

**Source:** 12 SDR 2, effective July 18, 1985; 13 SDR 129, 13 SDR 141, effective July 1, 1987; transferred from § 74:03:01:78, July 1, 1996; 23 SDR 180, effective April 30, 1997.

**General Authority:** SDCL 34A-2-93, 34A-2-123.

**Law Implemented:** SDCL 34A-2-20, 34A-2-21, 34A-2-22, 34A-2-123.