**CHAPTER 74:56:01**

**UNDERGROUND STORAGE TANKS (UST)**

Section

74:56:01:01 Definitions.

74:56:01:02 Underground storage tank defined.

74:56:01:03 Applicability.

74:56:01:04 Performance standards for new UST systems -- General requirements.

74:56:01:05 Performance standards for new UST systems -- Tanks.

74:56:01:06 Performance standards for new UST systems -- Piping.

74:56:01:07 Performance standards for new UST systems -- Spill and overfill protection.

74:56:01:08 Performance standards for new UST systems -- Installation requirements and submission of proof of compliance with requirements.

74:56:01:09 Upgrading of existing UST systems -- General requirements and deadlines.

74:56:01:10 Upgrading of existing USTs -- Specific requirements.

74:56:01:10.01 Replacement of existing UST systems -- Tanks.

74:56:01:10.02 Replacement of existing UST systems -- Piping.

74:56:01:10.03 Installation of under-dispenser sumps.

74:56:01:11 Notification requirements for UST systems.

74:56:01:12 Completion of certification of compliance form for UST systems.

74:56:01:13 Spill and overfill control.

74:56:01:14 Operation and maintenance of cathodic protection.

74:56:01:15 Operation and maintenance of cathodic protection -- Criteria for taking tests.

74:56:01:16 Operation and maintenance of cathodic protection -- Recordkeeping.

74:56:01:17 Compatibility.

74:56:01:18 Repairs allowed -- General requirements.

74:56:01:19 Repairs allowed -- Lining.

74:56:01:20 Repairs allowed -- Fiberglass-reinforced plastic tank systems.

74:56:01:21 Repairs allowed -- Piping.

74:56:01:22 Repairs allowed -- Recordkeeping.

74:56:01:23 Maintenance and availability of records.

74:56:01:23.01 Periodic testing of spill prevention equipment and containment sumps -- General requirements.

74:56:01:23.02 Periodic operation and maintenance walkthrough inspections.

74:56:01:24 Release detection for all UST systems -- General requirements and deadlines.

74:56:01:25 Release detection requirements for regulated substance UST systems -- Excluding hazardous substances.

74:56:01:26 Release detection requirements -- Tank tightness testing and inventory reconciliation.

74:56:01:27 Release detection requirements -- Vapor monitoring.

74:56:01:28 Release detection requirements -- Groundwater monitoring.

74:56:01:29 Release detection requirements -- Automatic tank monitoring.

74:56:01:30 Release detection requirements -- Secondary containment with interstitial monitoring.

74:56:01:31 Release detection requirements -- Manual tank monitoring.

74:56:01:32 Release detection requirements -- Hazardous substance UST systems.

74:56:01:33 Release detection requirements -- Other.

74:56:01:34 Release detection requirements for pressure piping.

74:56:01:35 Release detection requirements for suction piping.

74:56:01:36 Release detection requirements for piping -- Regulated hazardous substances.

74:56:01:37 Release detection requirements for piping -- Authority of department to approve.

74:56:01:38 Recordkeeping.

74:56:01:38.01 Training of owners and operators.

74:56:01:39 Repealed.

74:56:01:40 Reporting of suspected releases.

74:56:01:41 Reporting of spills and overfills.

74:56:01:42 Release investigation and confirmation.

74:56:01:43 Off-site impacts and source investigation.

74:56:01:44 General requirements for corrective action for releases from UST systems.

74:56:01:45 Initial abatement requirements and procedures for releases from UST systems.

74:56:01:46 Additional abatement requirements for hazardous substances.

74:56:01:47 Free product removal.

74:56:01:48 Additional site investigation for releases from UST systems.

74:56:01:49 Soil and groundwater cleanup for releases from UST systems.

74:56:01:50 Repealed.

74:56:01:51 Reporting of hazardous substance releases from UST systems.

74:56:01:52 Temporary removal from use.

74:56:01:53 Temporary closure.

74:56:01:53.01 Bringing UST systems back into service.

74:56:01:54 Permanent closure.

74:56:01:55 Postclosure requirements.

74:56:01:56 Failure to comply.

74:56:01:57 Field constructed tanks/airport hydrant systems.